# Gas Laws: Boyle’s and Amonton’s Laws

## MCTC Chemistry v.1.22

Objective: The purpose of this experiment is to determine Boyle's and Amontons' Laws in the laboratory.

Prelab Questions:  Read through this lab handout and answer the following questions before coming to lab.  
                                    There will be a quiz at the beginning of lab over this handout and its contents.

1. Convert the pressure measurement 789 mmHg into torr and atmospheres with the correct number of significant figures.

2. What variables are considered “constant” in Boyle’s Law calculations?

3. In the Boyle’s Laws experiment you will be determining a value for the volume of the tube.  Consider the tube to be 50. cm long with an inside diameter of 4.0 mm.  Use the volume equation for a cylinder to determine the volume of the tube in mL.   Volcylinder = ( r2 h
(Answer    6.3 mL)

4. How is Charles’s law different from Amonton’s law?  How are they alike?

5. A person guesses your age at 26 years.  However, you are actually 33 years old.  Calculate (%.
(Answer   -21%)

6. How many data points will collected for the Amonton’s law activity and where will they be recorded?

7. What is the correct reading for the syringe at right?

8. While heating the flask (Amonton’s law) the hose becomes disconnected.  What do you do?

9.  We’ll be extrapolating a value for Absolute Zero in this experiment (figure at right).  What part of the graph represents the data points actually measured?

10.  In the Amonton’s law experiment, how do we measure the temperature of the gas within the flask?

Boyle’s Law

A syringe can be used to easily change the volume of a gas by pushing the plunger into the barrel of the syringe.

Volumes are measured by noting where the rubber plunger meets the scale printed on the side of the syringe.

In the example below, the volume would be recorded as 44.6 mL  +/- 0.1 mL

If one considers a constant amount of a gas (n=constant) and an unchanging gas temperature (T=constant), then Boyle's Law states that the pressure externally exerted on a gas is related to the volume occupied by the gas such that PV = k where k is a constant.  If the pressure on a gas is varied then the volume will adjust to keep the product PV constant, as long as every variation is done with a constant n and T.

The apparatus used for this experiment is shown above. A syringe is connected via a tube to a pressure sensor, which is connected to a computer. The volume occupied by the gas is the sum of the syringe volume, Vsyringe and the small, fixed volume of the tube that connects the pressure sensor to the syringe, Vtube .

The total volume (Vtotal):

Vtotal = Vtube + Vsyringe						(1)

is used to calculate the Boyle's Law constant, k:

P ( Vtotal  = k       	        						(2)

Failure to include Vtube in the calculation produces a Boyle's Law constant that isn't very constant at all!

The data you collect consists of eight different pressure-volume readings.  The pressure measurement is obtained from the Logger Pro computer readout.  The volume measurement, Vsyringe, is obtained by determining the position of the syringe plunger against the graduated scale on the syringe barrel.

Vtube is determined mathematically using two different (P, Vsyringe) experimental data points and the mathematics that follow. According to Boyle's law the product of P ( Vtotal should be the same for any set of pressures and volumes so long as the number of moles of gas, n, and the temperature, T, do not change.  This can also be stated as:

Px  ( Vtot  x   =   Py  (  Vtot  y                           					(3)

The total volumes are the combined syringe- tube volumes:

Vtot x  =  Vsyringe 1  +  Vtube    	     						(4)

Vtot  y  =  Vsyringe 8 +  Vtube     							(5)

Substituting equations 4 & 5 into equation (3) we obtain:

P1  ( (Vsyringe 1  +  Vtube)      =   P8  (  (Vsyringe 8 +  Vtube)    			(6)

Which can be solved for Vtube:

Vtube  =  (P1 ( Vsyringe 1  -   P8 ( Vsyringe 8) 			    	(7)

P8 -  P1

One obtains Vtube by substituting the Trial 1 and Trial 8 pressure/volume data points into the equation above.  

Vtube is calculated just this once and this one value is used to determine total volumes for all eight trials.

Amontons' Law

Amontons' Law states that a pressure-temperature relationship exists for a fixed amount of gas in a fixed volume. At constant volume, the pressure exerted by a fixed amount of gas is directly proportional to the absolute temperature (i.e. Kelvin scale):

P = K ( T				(8)

Here K  is a different constant than the constant expressed in the Boyle's Law.

In this part of the experiment you will collect pressure & temperature data to test whether the quotient, P/T, is a constant.

The apparatus used to collect the pressure-temperature data points (right) consists of an Erlenmeyer flask immersed in a water bath whose temperature is increased slowly using a hot plate.  A stopper in the top of the flask traps the gas inside the flask, fixing the volume and amount of gas. The pressure sensor is attached to the flask via a tube inserted into the stopper.

Different temperatures are obtained by slowly heating the Erlenmeyer flask indirectly with the water bath using a hot plate.  A large magnetic stir bar is used to continuously stir the water bath guaranteeing a uniform temperature throughout.  So long as the temperature doesn't change too fast, assuming the temperature of the gas is the same as the temperature of the surrounding water bath is valid.  A temperature sensor is used to measure the temperature of the water bath (and flask).

Amontons' Law says a graph of pressure versus temperature for an ideal gas is a straight line (figure at right).   The straight line can be extended or extrapolated to lower pressures to where the pressure is zero.  At this point the lowest possible temperature, absolute zero (defined in the Kelvin system), can be read from the graph's horizontal axis. This temperature, absolute zero, is the theoretical temperature where all molecular motion stops.  In reality, real gases condense or liquefy before reaching absolute zero.

In your data analysis, you will use M.S. Excel to graph your experimental pressure-temperature data points and perform the trend line analysis of the data to predict the value of absolute zero in the Celsius temperature system.

Delta Percent: Comparing data differences using percent calculations

Delta percent ((%) calculations are often used to compare experimental values to known values.  The (% value is the difference between the two values expressed as a percentage.   (% is expressed with either a + or – to indicate whether the experimental value is higher or lower than expected.

Delta percent is calculated as follows:

(Experimental value – Known value)
                                  (%  =    ------------------------------------------     x 100
                                                              (Known value)

For example, if someone guesses your age to be 27 years old when your actual age is 30, (% can be used to describe the error:

(Experimental value – Known value)                                (27 years    -    30 years)
                (%  =      ------------------------------------------     x 100           =    ---------------------------------      x100  
                                             (known value)                                                            30 years

(%  =  - 10%

Notice that (%  appears with a negative sign telling us that the “guess” was lower than the known value.

In the Boyle’s Law experiment, you’ll be calculating the P x V constant for several different trials.  An average value for the constant will be calculated and considered the “known” value. (% values for each P x V trial will be determined comparing each to the average value.

Experiment: Calibration

- Attach the pressure sensor to CH 1 of the 
Vernier Interface.

- Attach the stainless steel temperature sensor 
to CH 2.

- Activate the Logger Pro software.

- Set the pressure units to mmHg by clicking 

Experiment -> Change Units -> LabPro Ch1: Gas Pressure Sensor -> mm Hg

- Disconnect the pressure sensor hose. 
It must be open to the atmosphere.

- Open up the calibration menu by clicking on Experiment -> Calibration -> Pressure sensor

- De-select the One Point Calibration check box 
We’ll be using a two point calibration

- Click “Calibrate Now” and enter the current atmospheric pressure (mmHg) in the Reading 1 box.

- Click “Keep”

- Notify your instructor that you’re ready for the second calibration point.

- Verify the calibration is correct by reading atmospheric pressure and comparing it to the known value.

Experiment: Boyle’s Law

- Create a 3 column data table in your lab notebook. 

Label the first column “Trial #” and enter the numbers 1 – 8.

Label the second column “Volume” and enter the following values:

  - 60 mL

  - 55 mL

  - 50 mL

  - 45 mL

  - 40 mL

  - 35 mL

  - 30 mL

  - 25 mL

Label the third column “Pressure”.  These are for experimental pressure measurements.

- Position the plunger of the disconnected syringe at the 60 mL mark. 

Next, connect the syringe to the pressure sensor by firmly pushing the tube on the end of the syringe. 
NO LEAKS!

- Record the pressure indicated by the LoggerPro 
display in your data table corresponding to V = 60 mL.

The pressure display will fluctuate so record only those digits that are significant.

- Push the plunger in to the 55.00 mL mark and again record the pressure in your data table.

- Repeat the process above for each 7 remaining volumes.  

Do not attempt volumes smaller than 25.00 mL as you may damage the syringe and pressure sensor!

Experiment:    Amonton’s Law

- Assemble the apparatus at above.

  - Hotplate: Off

  - Stir Function: Off

- Push the pressure sensor tube firmly on the glass tube sticking out of the 125 mL Erlenmeyer flask. 

If the tubing pops off during the experiment, you will have to start over from the beginning.

- Use a utility clamp around the top-most part of the flask to support it and to keep it submerged in the water. (clamp not shown in figure)

- Use the articulated arm to support the temperature probe. 

Position the tip of the temperature sensor halfway down the flask and as close to the flask as possible.

- Keep wires and tubes away from the hot plate (they will melt)

- Fill the 1 L beaker with enough COLD TAP water to cover the 125 mL flask as shown in the figure above.

- The beaker will be almost completely full.  (All of the gas inside the flask must experience the same temperature provided by the water bath).

- Start the stir bar (500 – 600 rpm).  Very vigorous stirring is required to keep such a large amount of water well mixed.  

We will assume the temperature of the water is the same as the gas temperature.

- Before you begin heating, have the instructor check over your apparatus.

- Set the hot plate temperature at 400°C.

- As the water warms up, it expands and will 
overflow the beaker.  

Use the squeeze blub and pipette (below)
 to remove water as necessary.

- Create a data table in your lab notebook and record a minimum of 30 pressure/temperature data points that are evenly distributed between your start temperature and 80(C.

# Text boxes

syringe

tube